DESCRIPTION

Work covered under this specification shall include the furnishing, placement and compaction of sand bedding for watermains.

MATERIAL

The material shall meet the requirements of NYSDOT Standard Specifications, Section 703-06 Cushion Sand, latest revision.

The sand may be determined to be unacceptable if it contains loam or silt in excess of 10 percent of the total volume.

CONSTRUCTION DETAILS

Sand shall be placed as shown on the plans.  Compaction shall comply to the requirements of NYSDOT Standard Specifications, Section 203-3.12, latest revision.

METHOD OF MEASUREMENT

The quantity to be measured for payment shall be the number of cubic yards of material placed, as measured in the completed work within the payment lines.

BASIS OF PAYMENT

The unit price bid per cubic yard shall include the cost of furnishing, placing and compacting the sand; and furnishing all labor, material and equipment necessary to complete the work.

Payment will be made under:

| Item No. | Item | Pay Unit |
| --- | --- | --- |
| C203.22 | Pipe Bedding - Sand | CY |