DESCRIPTION

This work shall consist of removing and erecting fencing and/or gates of the type and size, and at the locations shown on the plans or as directed by the engineer.

MATERIALS

Not specified.

CONSTRUCTION DETAILS

The contractor shall remove the fence and/or gate in a work-manlike manner by any suitable means that does not damage the fence.  The fence and/or gate shall be relocated per the plans or as directed by the engineer.

METHOD OF MEASUREMENT

The quantity to be paid for under this item will be the number of linear feet of fence and/or gate relocated in accordance with the plans or as specified by the engineer.

BASIS OF PAYMENT

The unit price bid per linear foot shall include the cost of furnishing all labor, materials and equipment to complete the work including but not limited to removing and reassembling existing fence, post and gates, repair or replacement of existing material, cleaning posts, concrete for foundations, and removing and disposing of post foundations.  Damage to the existing fence and/or gate to be reinstalled due to improper construction procedures or carelessness on the part of the contractor shall be repaired at no cost to the county.

Payment will be made under:

| Item No. | Item | Pay Unit |
| --- | --- | --- |
| C607.2520 | Remove and Relocate Fencing | LF |