[image: image1.png]Department of Public Safety

Monroe County, New York

i Maggie Brooks Stephen C. Bowman
County Executive Director





                                    BUREAU OF WEIGHTS AND MEASURES

                                                 Terrance T. Honan, Director
                                                   *TO WHOM IT MAY CONCERN *

The following are excerpts of various New York State Weights and Measures laws, rules and regulations and are being submitted to assist you to become familiar with these requirements:

1) Section 182 - NOTIFICATION and USE of WEIGHING and MEASURING DEVICES:
No person shall use, for the purpose of determining the weight, quantity or price of any commodity sold, or offered or exposed for sale any new, used or repaired weighing or measuring device, system or accessory related thereto, unless he has first notified the appropriate municipal director of weights and measures in writing of such intended use or unless such device, system or accessory has been inspected, tested and certified (sealed) by Monroe County Department of Weights and Measures.
2) Section 183 – SEALING of APPROVED DEVICES – LEGAL FOR TRADE – CLASS I, II or III:
Whenever any weights and measures official inspects any weighing and measuring device or system and finds that it corresponds with the standards in his possession and further finds it meets the specifications, tolerances and variations allowable as established by the Commissioner, he shall attach an appropriate seal to such device or system.
Retail scales are required to have the appropriate scale divisions (x .01lb. or x .002g) for the type of use in which such scale is being used. 
All users of commercial weighing and measuring devices shall permit the inspection and testing of the same by any weights and measures official for the purpose of emplacement or examination of such seals.
No person, except a weights and measures official, shall remove any such seal from any such weighing or measuring device or system, or obliterate or deface any such seal or cause any of the forgoing.
3) CONDEMNATION, SEIZURE or REPAIR of FALSE DEVICES:

Whenever any weights & measures official inspects any weighing or measuring device or system and finds that it does not corresponds with the standards in his possession, or does not meet the specifications, tolerances and variations allowable as established by the commissioner, he shall condemn the same and either seize it or order it repaired or removed.

No person shall use or attempt to use any device in which a RED TAG has been applied or in which a STOP USE ORDER, STOP/REMOVAL ORDER, REMOVAL ORDER has been issued. Only a weights and measures official can remove RED TAG and lift STOP USE ORDER upon completion of repairs.
Only a weights and measures official can remove condemnation tag or RED TAG.

4) Customers must be able to see weight display on scale or by remote readout.

5) Scales must be of sufficient capacity for its intended use.

6) All devices must start at zero; all indications and totals must be in agreement.

7) All Standards used are traceable to the NIST standards.
1NYYCRR Section 221.3 – Declaration of Identity

Any prepackaged commodity, kept, offered or exposed for sale, or sold at any place shall have a product name or description specified conspicuously on the package label

1NYCRR Section 221.4 – Declaration of Responsibility

Any prepackaged commodity, kept, offered or exposed for sale, or sold at any place shall specify conspicuously on the label of the package the name and address of the manufacturer, packer or distributor. The name shall be the actual corporate, or when not incorporated, the name under which the business is conducted. The address shall include street address, city, state and zip code: however the street address may be left off if the business is in the current city telephone directory.

1NYCRR Section 221.5 – Declaration of Quantity

Any prepackaged commodity, kept, offered or exposed for sale, or sold at any place shall specify conspicuously on the package label, the NET QUANTITY of the contents (subtract the TARE WEIGHT).
1NYCRR Section 221.13(18) Delicatessen Products

Deli products (traditional) customarily sold directly to the consumer may be sold by the fraction of a pound
ARTICLE 16, Section 190 Method of Sale for Food Products

All food and food products which are sold , offered or exposed  for sale by wholesalers, packers, distributors or jobbers shall be sold, offered or exposed for sale by net weight, standard measure or numerical count shall be plainly marked in such form or manner  as prescribed by the commissioner, by such person offering the food or food product for sale except that it shall not be necessary to so mark meat, meat products or fish, other than shellfish in natural form, provided the net weight be stated on a written invoice and on the shipping container of the meat, meat product or seafood.
All food products which are sold or offered for sale at retail and which are not in containers, shall be sold, offered or exposed for sale by net weight, standard measure or numerical count as prescribed.
All food and food products which are packaged or wrapped by the retailer and all food and food products which are packaged or wrapped in random weight, measure or count in advance of being offered or exposed for sale at retail shall be accurately marked with: (a) the net weight, standard measure of numerical count; (b) the selling price per pound or unit of standard measure and (c) the total selling price – 

Provided in case of food or food products packed at one place for subsequent  shipment to and sale at another, the price and weight sections of the label may be left blank, to be filled in prior to being offered or exposed for sale at retail.
Section 190.5 – Customer Use Scale Required

Wherever food or food products are packaged or wrapped for sale by a retailer in advance of being sold, or offered or exposed for sale, an accurate computing scale of sufficient capacity shall be maintained. 
Such scale shall be so placed as to be easily accessible to customers.
 A prominent and conspicuous sign stating “FOR CUSTOMER USE “SHALL BE DISPLAYED ON OR NEAR SUCH SCALE.
N.Y.S. mandates that weights and measures officials have access to all places of business, buildings and premises; and stop any vendor or dealer what so ever for the purpose of making proper inspections and tests. Business operator must assist official in completion of duties when requested.
WM 481(revised 6/12)

                                              145 Paul Rd., Bldg. 2, Rochester, NY 14624-5138
 (585)  753-7933, fax: (585) 753-7485 or www.thonan@monroecounty.gov  a division of Public Safety
